## ESTIMATE
AMOUNT
|  | PROJECT: | WRANGLER |  |  | Subtotal |  |  |  |  | 176714.8323
[6 empty] | Over & Profit |  |  |  |  | 88357.4161
|  | LOCATION: | STONEBRIAR CENTRE, UNIT 2012 2601 Preston Road Frisco, Tx 75034
[6 empty] | Total |  |  |  |  | 265072.2484
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | TOTAL LABOR COST | TOTAL MATERIAL COST | TOTAL COST
|  | 10000 | DIVISION 01-GENERAL REQUIREMENTS
1 |  |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Project Closeouts | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Submittal and approval | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 | AD101 |  | Temporary Construction Barricade (12' H) - 5/8"n Gyp. On Studs - Graphics/Paint - (6' W x 12' H) Barricade Door (1 EA) | 27 | 10% | 29.7 | LF | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [6 empty] | 0 | 0 | 0
|  | 2 | DIVISION 02 — DEMOLITION
SITE DEMOLITION
8 | AD101 |  | Allowance For Removal Of Lighting, Switches, Sensors & All Associated Components Back To Source | 1667 | 0% | 1667 | SF | 0.3 | 0 | 500.1 | 0 | 500.1
9 | AD101 |  | Allowance For Removal Of Power Supply Devices & All Associated Components Back to Source | 1667 | 0% | 1667 | SF | 0.25 | 0 | 416.75 | 0 | 416.75
10 | AD101 |  | Allowance For Removal Of Misc. Devices, But Not Limited to: Sound, Telephone, Data & Security Equipment & All Associated Components Back to Source | 1667 | 0% | 1667 | SF | 0.15 | 0 | 250.05 | 0 | 250.05
11 | AD101 |  | Allowance For Removal Of Fire Alarm System & All Associated Components | 1667 | 0% | 1667 | SF | 0.25 | 0 | 416.75 | 0 | 416.75
12 | AD101 |  | Allowance For Removal Of Millwork Components As Indicated Including Blocking | 1667 | 0% | 1667 | SF | 0.45 | 0 | 750.15 | 0 | 750.15
13 | AD102 |  | Allowance For Removal Of Ductwork, Diffusers, Grills & All Associated Components In Their Entirety Back To Source | 1646 | 0% | 1646 | SF | 0.55 | 0 | 905.3 | 0 | 905.3
14 | AD101 |  | Remove Partition Wall | 1462.12 | 0% | 1462.12 | SF | 1.25 | 0 | 1827.65 | 0 | 1827.65
15 | AD101 |  | Remove Wall | 197.89 | 0% | 197.89 | SF | 1.35 | 0 | 267.1515 | 0 | 267.1515
16 | AD101 |  | Remove Column Enclosure | 67.0521 | 0% | 67.0521 | SF | 1.75 | 0 | 117.3411 | 0 | 117.3411
17 | AD101 |  | Remove Floor Finishes Down To Existing Slab Including, But Not Limited To: Floor Material, Leveling Agents & Adhesive Residue | 1667 | 0% | 1667 | SF | 1.45 | 0.1 | 2417.15 | 166.7 | 2583.85
18 | AD102 |  | Remove ACT Ceiling, Grid & All Associated Components | 102.09 | 0% | 102.09 | SF | 0.65 | 0 | 66.3585 | 0 | 66.3585
19 | AD102 |  | Remove GWB Ceiling, Support & All Associated Components | 1543.5 | 0% | 1543.5 | SF | 1.1 | 0 | 1697.85 | 0 | 1697.85
20 | AD101 |  | Remove Door w/ Frame & All Components | 4 | 0% | 4 | EA | 150 | 0 | 600 | 0 | 600
21 | AD101 |  | Remove Plumbing Fixtures & Caped | 3 | 0% | 3 | EA | 225 | 25 | 675 | 75 | 750
22 | AD101 |  | (5"x5") Floor Core | 2 | 0% | 2 | EA | 250 | 75 | 500 | 150 | 650
|  |  | Subtotal | [6 empty] | 11407.6011 | 391.7 | 11799.3011
|  | 5 | DIVISION 05 — METALS
FRAMING
POSTS
23 | S210 |  | Full Height Post (2) 362S162-54 Boxed w/ 362T125-54 T&B FP1 - (17'-10" H) - (2) 362T250-68 (Nested) Base Plate | 12 | 0% | 12 | EA | 185 | 240 | 2220 | 2880 | 5100
24 | S210 |  | Full Height HSS3x3x1/4 FP2 - (17'-10" H) - PL 5/8x3x9 Base Plate | 2 | 0% | 2 | EA | 425 | 475 | 850 | 950 | 1800
BEAMS
25 | S210 |  | (2) 600S162-54 Boxed w/ 362T125-54 T&B B1 | 44.79 | 10% | 49.269 | LF | 16 | 14 | 788.304 | 689.766 | 1478.07
26 | S210 |  | (2) 362S162-54 Boxed w/ 362T125-54 T&B B2 | 19.57 | 10% | 21.527 | LF | 13 | 10 | 279.851 | 215.27 | 495.121
27 | S210 |  | Bulkhead Beam - VIF | 28.13 | 10% | 30.943 | LF | 15 | 12 | 464.145 | 371.316 | 835.461
28 | S210 |  | 362S162-43 | 85.7 | 10% | 94.27 | LF | 6.5 | 2.4 | 612.755 | 226.248 | 839.003
|  |  | Subtotal | [6 empty] | 5215.055 | 5332.6 | 10547.655
|  | 6 | DIVISION 07— THERMAL & MOISTURE PROTECTION
FIRESTOPPING
29 | A212 |  | Allowance For Fire Stopping | 1 | 0% | 1 | LS | 1400 | 450 | 1400 | 450 | 1850
|  |  | Subtotal | [6 empty] | 1400 | 450 | 1850
|  | 6 | DIVISION 06 — WOOD,PLASTICS & COMPOSITES
FINISH CARPENTRY
30 | A212 |  | (4" T×1/2" D) Chair Rail | 38.47 | 10% | 42.317 | LF | 5.5 | 6.5 | 232.7435 | 275.0605 | 507.804
31 | A212 |  | (1" Wx1/2"D) Wall Trim | 126.81 | 10% | 139.491 | LF | 4 | 3 | 557.964 | 418.473 | 976.437
32 | A210 |  | Wood Trim WD-02 - Wood & Wood Veneer - Manf: By Millworker - Style/Model: Hardwood & Veneer: Stained | 58.56 | 10% | 64.416 | LF | 8 | 14 | 515.328 | 901.824 | 1417.152
WOOD BACKING
33 | A210-A400 |  | (2x6) Blocking | 276 | 10% | 303.6 | LF | 3.25 | 2.1 | 986.7 | 637.56 | 1624.26
34 | A213 |  | (4'x8') Fire Rated Plywood | 1 | 0% | 1 | EA | 55 | 95 | 55 | 95 | 150
EXTERIOR FINISHES
35 | A200 |  | Wood Grain WD-02 - Wood & Wood Veneer - Manf: By Millworker - Style/Model: Hardwood & Veneer: Stained | 105.04 | 10% | 115.544 | LF | 12 | 22 | 1386.528 | 2541.968 | 3928.496
36 | A200 |  | WD-02 Trim - Wood & Wood Veneer - Manf: By Millworker - Style/Model: Hardwood & Veneer: Stained | 112.27 | 10% | 123.497 | SF | 18 | 38 | 2222.946 | 4692.886 | 6915.832
|  |  | Subtotal | [6 empty] | 5957.2095 | 9562.7715 | 15519.981
|  | 8 | DIVISION 08 — OPENINGS
DOORS & FRAMES
37 | A601 |  | (9'-8" x 9'-2") Type D Aluminum Black Rolling Door w/ Track - Hardware Requirement & Details By Rolling Grill Manufacturer (VIF) | 1 | 0% | 1 | EA | 1650 | 5400 | 1650 | 5400 | 7050
38 | A601 |  | (3'-0" x 7'-0") Type AA Wood Door w/ Type 2 Wooden Frame | 1 | 0% | 1 | EA | 350 | 1050 | 350 | 1050 | 1400
39 | A601 |  | (3'-0" x 7'-0") 1 HR Type A Hollow Metal Door w/ Type 1 Hollow Metal Frame | 1 | 0% | 1 | EA | 325 | 1125 | 325 | 1125 | 1450
40 | A601 |  | (3'-0" x 7'-0") Type A Hollow Metal Door w/ Type 1 Hollow Metal Frame | 1 | 0% | 1 | EA | 300 | 900 | 300 | 900 | 1200
41 | A601 |  | (2'-6" x 7'-0") Type B Wood Door w/ Type 2 Wooden Frame | 1 | 0% | 1 | EA | 275 | 725 | 275 | 725 | 1000
DOOR HARDWARE
42 | A601 |  | Hardware Set No. 1: Single Door (Restroom) - (3 EA) Hinge (Sta / Cb179 4 1/2" X 4 1/2" Nrp - 693) - (1 EA) Storeroom Lock (Kwik / 438-Cnl-11P-Smt - 11P) - (1 EA) Indicator Deadbolt (Sch / B571 - 622) - (1 EA) Surface Closer (Lcn / 4050A Eda - 693) - (1 EA) Kick Plate (Ive / 8400 8" X 1 1/2" Ldw B-Cs - Blk) - (1 EA) Wall Stop (Ive / Ws406/407Cvx - Blk) - (3 EA) Silencer (Ive / Sr64/Sr65 - Gry) | 1 | 0% | 1 | EA | 200 | 940 | 200 | 940 | 1140
43 | A601 |  | Hardware Set No. 2: Single Door With Storeroom Lock - (3 EA) Hinge (Sta / Cb179 4 1/2" X 4 1/2" Nrp - 693) - (1 EA) Storeroom Lock (Kwik / 438Cnl-11P-Smt - 11P) - (1 EA) Surface Closer (Lcn / 4040 - 693) - (3 EA) Silencer (Ive / Sr64/Sr65 - Gry) | 1 | 0% | 1 | EA | 180 | 670 | 180 | 670 | 850
44 | A601 |  | Hardware Set No. 2: Single Door With Storeroom Lock - (3 EA) Hinge (Sta / Cb179 4 1/2" X 4 1/2" Nrp - 693) - (1 EA) Storeroom Lock (Kwik / 438Cnl-11P-Smt - 11P) - (1 EA) Surface Closer (Lcn / 4040 - 693) - (3 EA) Silencer (Ive / Sr64/Sr65 - Gry) - (1 EA) Wall Mtd Stop (Wsi / 3" Old Fashioned Doorstop - Aged Brass) | 2 | 0% | 2 | EA | 190 | 715 | 380 | 1430 | 1810
45 | A601 |  | Hardware Set No. 3: Single Door With Privacy Lock - (3 EA) Hinge (Sta / Cb179 4 1/2" X 4 1/2" Nrp - 693) - (1 EA) Privacy Lock (Kwik / 405Csl Sqt 514 Smt - 514) - (1 EA) Surface Closer (Lcn / 4040 (Push Side Mount) - 693) - (1 EA) Overhead Stop (Abh / 440 Series (Inactive Leaf) - 693) - (1 EA) Wall Mtd Stop (Wsi / 3" Old Fashioned Doorstop - Aged Brass) | 1 | 0% | 1 | EA | 230 | 830 | 230 | 830 | 1060
STOREFRONT - PLEASE VERIFY
46 | A200 |  | (8'-0" x 8'-0") Butt-Glaze Storefront Glass Panel - GC To Replace Door Transom & Sidelight Only | 1 | 0% | 1 | EA | 2560 | 4800 | 2560 | 4800 | 7360
|  |  | Subtotal | [6 empty] | 6450 | 17870 | 24320
|  | 9 | DIVISION 09 — FINISHES
DRYWALLS
|  |  | WALL TYPE 1A AS: | 87.24 | LF
47 | A101 |  | (1) Layer Of 5/8" Sheathing On Both Sides | 2559.0109 | 10% | 2814.912 | SF | 1.5 | 0.68 | 4222.368 | 1914.1402 | 6136.5082
48 | A101 |  | 3-5/8" Metal Studs @ 16" O.C. | 1169.7375 | 10% | 1286.7113 | LF | 1.2 | 0.85 | 1544.0535 | 1093.7046 | 2637.7581
49 | A101 |  | 3-5/8" Top & Bottom Runners | 174.48 | 10% | 191.928 | LF | 0.85 | 0.8 | 163.1388 | 153.5424 | 316.6812
50 | A101 |  | Sealant | 348.96 | 10% | 383.856 | LF | 0.75 | 0.35 | 287.892 | 134.3496 | 422.2416
|  |  | WALL TYPE 1B AS: | 2 | LF
51 | A101 |  | (1) Layer Of 5/8" Sheathing On Both Sides | 46 | 10% | 50.6 | SF | 1.5 | 0.68 | 75.9 | 34.408 | 110.308
52 | A101 |  | 6" Metal Studs @ 16" O.C. | 17.2932 | 10% | 19.0226 | LF | 1.3 | 1.15 | 24.7293 | 21.8759 | 46.6053
53 | A101 |  | 6" Top & Bottom Runners | 4 | 10% | 4.4 | LF | 0.9 | 1.05 | 3.96 | 4.62 | 8.58
54 | A101 |  | Sealant | 8 | 10% | 8.8 | LF | 0.75 | 0.35 | 6.6 | 3.08 | 9.68
|  |  | WALL TYPE 3A AS: | 162 | LF
55 | A101 |  | (1) Layer Of 5/8" Sheathing On One Side | 2268 | 10% | 2494.8 | SF | 1.5 | 0.68 | 3742.2 | 1696.464 | 5438.664
56 | A101 |  | 3-5/8" Metal Studs @ 16" O.C. | 1705.2632 | 10% | 1875.7895 | LF | 1.2 | 0.85 | 2250.9474 | 1594.4211 | 3845.3684
57 | A101 |  | 3-5/8" Top & Bottom Runners | 324 | 10% | 356.4 | LF | 0.85 | 0.8 | 302.94 | 285.12 | 588.06
58 | A101 |  | Sealant | 324 | 10% | 356.4 | LF | 0.75 | 0.35 | 267.3 | 124.74 | 392.04
|  |  | WALL TYPE 4A AS: | 5 | LF
59 | A101 |  | (1) Layer Of 5/8" Sheathing On One Side | 89.165 | 10% | 98.0815 | SF | 1.5 | 0.68 | 147.1223 | 66.6954 | 213.8177
60 | A101 |  | 3-5/8" Metal Studs @ 16" O.C. | 67.0414 | 10% | 73.7455 | LF | 1.2 | 0.85 | 88.4946 | 62.6837 | 151.1783
61 | A101 |  | 3-5/8" Top & Bottom Runners | 10 | 10% | 11 | LF | 0.85 | 0.8 | 9.35 | 8.8 | 18.15
62 | A101 |  | Sealant | 10 | 10% | 11 | LF | 0.75 | 0.35 | 8.25 | 3.85 | 12.1
FLOORING
63 | A103 |  | CON-01 Sealed Concrete | 376.87 | 10% | 414.557 | SF | 1.1 | 0.55 | 456.0127 | 228.0064 | 684.0191
64 | A103 |  | LVT-01 - LVT Plank - Manf: Shaw Contract - Style/Model: Inlet Inlet II: 4372V - Color: Spindle 72140; Size 9"x48" Plank; Staggered Installation | 1092.67 | 10% | 1201.937 | SF | 2.25 | 5.1 | 2704.3583 | 6129.8787 | 8834.237
65 | A103 |  | WD-02 Flooring - Wood & Wood Veneer - Manf: By Millworker - Style/Model: Hardwood & Veneer: Stained | 47.27 | 10% | 51.997 | SF | 6.5 | 14 | 337.9805 | 727.958 | 1065.9385
66 | A103 |  | TL-04 TileBar - Bianco Dolomite, White 1" Penny Round Premium Polished Marble Mosaic - Grout: TBD - Feature Stone Penny Tile w/ Brass "LONG LIVE COWBOYS" @ Main Entry | 37.5 | 10% | 41.25 | SF | 30 | 62 | 1237.5 | 2557.5 | 3795
RUGS:
67 | A103 |  | AR-01 Area Rug - Size: 7'-0" W x 10'-0" L - Manf: Amara - Color: Barolo Red Wool Hand Knotted | 1 | 0% | 1 | EA | 50 | 2800 | 50 | 2800 | 2850
68 | A103 |  | AR-02 Area Rug - Size: 3'-6" W x 7'-0" L & 5-6" W x 7'-0" L - Manf: Amara - Color: Nuru Ivory Hand Knotted Wool | 2 | 0% | 2 | EA | 40 | 1300 | 80 | 2600 | 2680
TRANSITION:
69 | A103 |  | 1" Thk Schluter Designline Brass Finish | 19.29 | 10% | 21.219 | LF | 9 | 30 | 190.971 | 636.57 | 827.541
70 | A103 |  | Reducer Strip - CRS 40 A 1/4" Black | 3.01 | 10% | 3.311 | LF | 3.5 | 4.5 | 11.5885 | 14.8995 | 26.488
WALL BASE:
71 | A103 |  | RB-01 Rubber Wall Base Manf: Johnsonite Style/Model: Rolled 4" Cove Base | 102.54 | 10% | 112.794 | LF | 1.4 | 1.35 | 157.9116 | 152.2719 | 310.1835
72 | A103 |  | WB-01 Wood Wall Base - Style/Model: 6" Tall x 1/2" Thk Wood - Paint To Match Wall | 203.93 | 10% | 224.323 | LF | 4.25 | 3.5 | 953.3728 | 785.1305 | 1738.5033
73 | A103 |  | WD-02 Base - Wood & Wood Veneer - Manf: By Millworker - Style/Model: Hardwood & Veneer: Stained | 46.94 | 10% | 51.634 | LF | 4.5 | 9.5 | 232.353 | 490.523 | 722.876
CEILING
74 | A102 |  | (2x2) ACT Ceiling | 52.21 | 10% | 57.431 | SF | 2.4 | 2.75 | 137.8344 | 157.9353 | 295.7697
75 | A102 |  | 5/8" Gypsum Board Ceiling | 1163 | 10% | 1279.3 | SF | 5.25 | 2.85 | 6716.325 | 3646.005 | 10362.33
76 | A102 |  | Wood Panel | 30.08 | 10% | 33.088 | SF | 14 | 28 | 463.232 | 926.464 | 1389.696
WALL FINISHES
77 | A210-A400 |  | FRP-01 FRP Panel Manf: Marlite Style/Model: Pebble Color: White | 164.78 | 10% | 181.258 | SF | 2.4 | 2.35 | 435.0192 | 425.9563 | 860.9755
78 | A210-A400 |  | WD-02 Wall Panel - Wood & Wood Veneer - Manf: By Millworker - Style/Model: Hardwood & Veneer: Stained | 145.93 | 10% | 160.523 | SF | 12 | 32 | 1926.276 | 5136.736 | 7063.012
79 | A210-A400 |  | WC-01 Wall Covering - Manf: Coordonne - Color: REF. C00030 Andes Arena | 235.04 | 10% | 258.544 | SF | 2.75 | 3.25 | 710.996 | 840.268 | 1551.264
PAINT
80 | A210-A400 |  | Paint @ Wall PT-01 Manf: Portola Style/Model: Roman Clay Color: Patagonia | 1308 | 10% | 1438.8 | SF | 3 | 1.25 | 4316.4 | 1798.5 | 6114.9
81 | A210-A400 |  | Paint @ Wall PT-02 Manf: Sherwin Williams Style/Model: Eggshell Color: SW7012 Creamy | 341 | 10% | 375.1 | SF | 1.12 | 0.48 | 420.112 | 180.048 | 600.16
82 | A210-A400 |  | Paint @ Wall PT-03 Manf: Sherwin Williams Style/Model: Eggshell Color: SW7006 Extra White | 1343 | 10% | 1477.3 | SF | 1.12 | 0.48 | 1654.576 | 709.104 | 2363.68
83 | A102 |  | Paint @ Expose Ceiling Finish Spray Coating | 326 | 10% | 358.6 | SF | 1.45 | 0.55 | 519.97 | 197.23 | 717.2
84 | A102 |  | Paint @ Ceiling PT-01 Manf: Portola Style/Model: Roman Clay Color: Patagonia | 1023 | 10% | 1125.3 | SF | 3.25 | 1.25 | 3657.225 | 1406.625 | 5063.85
85 | A102 |  | Paint @ Ceiling PT-02 Manf: Sherwin Williams Style/Model: Matte Color: SW7012 Creamy | 140 | 10% | 154 | SF | 1.19 | 0.51 | 183.26 | 78.54 | 261.8
86 | A601 |  | Paint @ Doors w/Frames PT-03 Manf: Sherwin Williams Style/Model: Eggshell Color: SW7006 Extra White | 2 | 0% | 2 | EA | 145 | 40 | 290 | 80 | 370
|  |  | Subtotal | [6 empty] | 40988.5198 | 39908.6443 | 80897.1641
|  | 10 | DIVISION 10 — SPECIALTIES
BATHROOM ACCESSORIES
87 | A5.00 |  | Toilet Paper Dispenser TA01 Manf: Bobrick Style/Model: B-2840 | 1 | 0% | 1 | EA | 45 | 120 | 45 | 120 | 165
88 | A5.00 |  | Sanitary Napkin TA04 Manf: Bobrick Style/Model: B-270 | 1 | 0% | 1 | EA | 40 | 65 | 40 | 65 | 105
89 | A5.00 |  | Hand Dryer TA06 Manf: Dyson Style/Model: HU02, Sprayed Nickel, AB12 | 1 | 0% | 1 | EA | 175 | 1150 | 175 | 1150 | 1325
90 | A5.00 |  | Grab Bars TA08-01 Manf: Bobrick Style/Model: B-5806x42 & B-5806x36 | 2 | 0% | 2 | EA | 85 | 75 | 170 | 150 | 320
91 | A5.00 |  | Soap Dispenser TA09 Manf: Bobrick Style/Model: B-4112 | 1 | 0% | 1 | EA | 35 | 45 | 35 | 45 | 80
92 | A5.00 |  | Mirror TA10 Manf: Bobrick Style/Model: B-2908 24"x36" | 1 | 0% | 1 | EA | 55 | 95 | 55 | 95 | 150
93 | A5.00 |  | Stainless Steel Drinking Fountain Grab Bar - 18" x 33" | 1 | 0% | 1 | EA | 85 | 110 | 85 | 110 | 195
94 | A5.00 |  | (36" x 78") Mirror | 2 | 0% | 2 | EA | 120 | 285 | 240 | 570 | 810
MISC.
95 | A5.00 |  | Wall Mounted Fire Extinguisher | 1 | 0% | 1 | EA | 30 | 85 | 30 | 85 | 115
96 | A2.10 |  | Wall Mounted Recessed Cabinet Fire Extinguisher | 1 | 0% | 1 | EA | 150 | 320 | 150 | 320 | 470
|  |  | Subtotal | [6 empty] | 1025 | 2710 | 3735
|  | 12 | DIVISION 12 — FURNISHINGS
FIXTURES - INSTALL ONLY
97 | A104 |  | Cash Wrap Fx-02 | 1 | 0% | 1 | EA | 650 | 0 | 650 | 0 | 650
98 | A104 |  | 24" W Wall Bay Fx-03b | 22 | 0% | 22 | EA | 145 | 0 | 3190 | 0 | 3190
99 | A104 |  | 24" W Wall Bay - Denim Fx-04 | 14 | 0% | 14 | EA | 145 | 0 | 2030 | 0 | 2030
100 | A104 |  | 50" W Wall Bay With Shelf Fx-05b | 1 | 0% | 1 | EA | 245 | 0 | 245 | 0 | 245
101 | A104 |  | Collaboration Fixture Fx-06 | 1 | 0% | 1 | EA | 325 | 0 | 325 | 0 | 325
102 | A104 |  | Denim Table Fx-07b | 1 | 0% | 1 | EA | 150 | 0 | 150 | 0 | 150
103 | A104 |  | Large Ottoman Fx-08b | 3 | 0% | 3 | EA | 55 | 0 | 165 | 0 | 165
104 | A104 |  | Nesting Table Fx-12 Comments: Note: 2 Nested Bunkers | 1 | 0% | 1 | EA | 175 | 0 | 175 | 0 | 175
105 | A104 |  | Shelf With Metal Gate Fx-13 | 2 | 0% | 2 | EA | 185 | 0 | 370 | 0 | 370
106 | A104 |  | Wood Console Table Fx-14b | 1 | 0% | 1 | EA | 95 | 0 | 95 | 0 | 95
107 | A104 |  | 4' Rolling Hang Rail Fx-16 | 3 | 0% | 3 | EA | 45 | 0 | 135 | 0 | 135
108 | A104 |  | Accessories Niche Fx-19b Comments: Note: Increase To 42" Wide Niche | 1 | 0% | 1 | EA | 385 | 0 | 385 | 0 | 385
MANNEQUIN - INSTALL ONLY
109 | A104 |  | Female Mannequin - Standing M-01 | 2 | 0% | 2 | EA | 45 | 0 | 90 | 0 | 90
110 | A104 |  | Male Mannequin - Standing M-02 | 3 | 0% | 3 | EA | 45 | 0 | 135 | 0 | 135
111 | A104 |  | Male Mannequin - Half Bust M-04 | 1 | 0% | 1 | EA | 30 | 0 | 30 | 0 | 30
FURNITURE - INSTALL ONLY
112 | A104 |  | Storage Cabinet Fn-02 Manf: Pottery Barn Description: Modern Farmhouse Entry Tower Comments: Configuration: Storage Cabinet | 1 | 0% | 1 | EA | 225 | 0 | 225 | 0 | 225
113 | A104 |  | Cocktail Table Fn-03 Manf: Arhaus Description: Kenneth Martini Table Comments: Antique Brass | 2 | 0% | 2 | EA | 65 | 0 | 130 | 0 | 130
114 | A104 |  | H-01 Manf: Signature Hardware | 4 | 0% | 4 | EA | 45 | 0 | 180 | 0 | 180
115 | A104 |  | Fitting Room Hardware - Hangbar H-02 Manf: Rejuvenation Description: Ansel 24" Towel Bar; Oil-rubbed Bronze | 2 | 0% | 2 | EA | 65 | 0 | 130 | 0 | 130
116 | A104 |  | Fitting Room Hardware - Hat Hook H-03 Manf: Signature Hardware Description: Cavill Cast Iron Double Hook Sh500748 | 5 | 0% | 5 | EA | 35 | 0 | 175 | 0 | 175
117 | A104 |  | Illuminated Mirror - Fitting Rooms Mir-01 Manf: Imb Mirror Description: 70x30 Dimmable Lighted Mirror Galaxy Comments: Install At 3000k. Cct Touch Button, Led 3000k-4000k-6000k, Dimmable | 2 | 0% | 2 | EA | 285 | 0 | 570 | 0 | 570
118 | A104 |  | Wall Mirror Mir-03 Manf: West Elm Description: Anton Wood Wall Mirror Comments: 30"w X 1.5"d X 72"h. | 1 | 0% | 1 | EA | 120 | 0 | 120 | 0 | 120
|  |  | Subtotal | [6 empty] | 9700 | 0 | 9700
|  | 22 | DIVISION 22 — PLUMBING
PLUMBING FIXTURES
119 | P510 |  | Tag WC-1 Manf/Model: American Standard Cadet Pro, Right Height 215AA Description: Elongated Combination Toilet, 12" Rough-In, Polished Chrome Trip Lever, Vitreous China, 1.28 GPF, 16-1/2" Rim Height, ADA Compliant. Install With Trip Levers On The Wide Side Of The Stall. Seat Description: Heavy Duty, Elongated, Open Front Less Cover, Self Sustaining Check Hinge. Supplies Manf/Model: Everclean/5321-110 Description: 1/2" Chrome Plated Brass Tubing With Ball Valve Angle Stops. | 1 | 0% | 1 | EA | 425 | 520 | 425 | 520 | 945
120 | P510 |  | Tag L-1 Manf/Model: American Standard 0355.012 Description: "Lucerne" Wall-Hung Lavatory, Vitreous China, Front Overflow, D-Shaped Bowl, Self-Draining Deck, Faucet Ledge, Faucet Holes On 4" Centers Faucet Manf/Model: Zurn Z6915-HW6-CWB-F-TMV-1 Description: "Aquasense" Hardwired Electronic Sensor Faucet, Integral Four Inch Cover Plate, Infrared Convergence-Type Proximity Sensor Located In The Chrome Plated Cast Brass Spout, In-Line Filter, 0.5 GPM Vandal Resistant Aerator, Thermostatic Mixing Valve For Single Faucets, Includes Four 'AA' Batteries To Provide Battery Backup Power To The Faucet During Power Outages, Sensor Range Is Factory Set For Optimum Performance Supplies Description: 3/8" Chrome Plated Angled Stop With Wheel Handle, 3/8" Chrome Plated Flexible Brass Riser, Insulate All Exposed Water Lines And Valves Waste Manf/Model: American Standard 7723.018 Description: Grid Drain, 4-1/2" Offset For Wheelchair Lavatory, 1-1/4" Tailpiece, 1-1/4" 17 Gauge Chrome Plated Adjustable Brass P-Trap With Cleanout Plug Run Parallel And As Tight To Wall As Possible, 1-1/4" Chrome Plated Brass Waste To Wall Carrier Manf/Model: Zurn/Z-1224 Description: Lavatory Support System With Top Support Plate, Dura-Coated Rectangular Steel Uprights With Welded Feet, Adjustable Support Plate, And Mounting Fasteners Protective Pipe Cover Manf/Model: Truebro/103 E-Z Description: One P-Trap Cover, Two Angle Valves And Supply Covers, One 5" Offset Tailpiece Wheelchair Strainer Cover Mounting Height: 33 Inches Floor To Rim | 1 | 0% | 1 | EA | 650 | 1350 | 650 | 1350 | 2000
121 | P510 |  | Tag TP-1 Trap Primer Manf/Model: Precision Plumbing Products Inc. / P2-500 Description: Machined Of Corrosion Resistant Brass Contains No Springs Or Diaphragms, Inlet 1/2" Male NPT, Outlet 1/2" Female NPT. Pressure Activated Primer Delivers Potable Water Across An Air Gap Funnel Then Through The Distribution Unit When It Senses A Pressure Drop Of 5 To 10 P.S.I.G. Mounting Height: Minimum Mounting Height Of 12" Above Finished Floor When Floor Drain Served Is 20'-0" Or Less Developed Length From Unit, Mount An Additional 12" Higher For Each Additional 20'-0" Of Length Supplies Description: Distribution Unit DU-1 For 1 Or 2 Traps, DU-3 For 3 Traps, OR DU-4 For 4 Traps, To Supply More Than Four Traps Add Distribution Unit Pairs Up To 8 Drains, Provide AG-500 Air Gap Connection. | 1 | 0% | 1 | EA | 325 | 285 | 325 | 285 | 610
122 | P510 |  | Tag FD-1 Floor Drain Manf/Model: Zurn/Z-415S-P Description: Coated Cast Iron Floor Drain, Two-Piece Body, Double Drainage Flange, Invertible Non-Puncturing Flashing Collar, Weep-Holes, Bottom Outlet Inside Caulk Connection, Adjustable Square Super-Flo Strainer, Flashing Clamp With 20"x24" 4 LB. Lead Flashing For Floor Drains Installed Above Slab On Grade, 1/2" Trap Primer Connection. Strainer Manf/Model: Zurn/Type 5 Description: 6" x 6" Square Nickel Bronze Finish Waste Description: Cast Iron P-Trap Under Floor | 1 | 0% | 1 | EA | 550 | 385 | 550 | 385 | 935
123 | P510 |  | Tag MS-1 Mop Sink Manf/Model: Fiat/Model MSB-2424 Description: Molded Stone, 2" Chrome Strainer, With Pail Hook, Hose Thread, Vacuum Breaker, Wall Supports, Supplies With Tee Ops, P-Trap, Rim Guard Faucet Manf/Model: Fiat/Model 830AA Description: Service Sink Faucet | 1 | 0% | 1 | EA | 450 | 685 | 450 | 685 | 1135
124 | P510 |  | Tag DF-1 Drinking Fountain Manf/Model: Elkay Model EZWS-EDFPBM117K W/ Access Panel 12X38-S Description: ADA Compliant Elkay EZH20 Bottle Filling Station With Integral Swirlflo Hi-Low Drinking Fountain. | 1 | 0% | 1 | EA | 650 | 2650 | 650 | 2650 | 3300
125 | P510 |  | WH-1 Water Heater Manf/Model: A.O. Smith/Del-06 | 1 | 0% | 1 | EA | 425 | 575 | 425 | 575 | 1000
126 | P110 |  | Water Meter | 1 | 0% | 1 | EA | 275 | 450 | 275 | 450 | 725
127 | P110 |  | Shutoff Valve | 2 | 0% | 2 | EA | 95 | 65 | 190 | 130 | 320
128 | P510 |  | Water Hammer Arrestor Manf: Sioux | 3 | 0% | 3 | EA | 65 | 45 | 195 | 135 | 330
WATER PIPES
129 | P110-P5510 |  | 1/2" Cold Water Pipe | 42.26 | 10% | 46.486 | LF | 16 | 7.5 | 743.776 | 348.645 | 1092.421
130 | P110-P5510 |  | 3/4" Cold Water Pipe | 39.51 | 10% | 43.461 | LF | 18 | 10.5 | 782.298 | 456.3405 | 1238.6385
131 | P110-P5510 |  | 1/2" Hot Water Pipe | 11.85 | 10% | 13.035 | LF | 18 | 9.5 | 234.63 | 123.8325 | 358.4625
WASTE & VENT PIPES
132 | P110-P5510 |  | 4" Sanitary Pipe | 17.21 | 10% | 18.931 | LF | 38 | 28 | 719.378 | 530.068 | 1249.446
133 | P110-P5510 |  | 2" Sanitary Pipe | 20.64 | 10% | 22.704 | LF | 28 | 15 | 635.712 | 340.56 | 976.272
134 | P110-P5510 |  | 3" Sanitary Pipe | 1.2 | 10% | 1.32 | LF | 33 | 21 | 43.56 | 27.72 | 71.28
135 | P110-P5510 |  | 1-1/2" Vent Pipe | 24.01 | 10% | 26.411 | LF | 22 | 9 | 581.042 | 237.699 | 818.741
136 | P110-P5510 |  | 2" Vent Pipe | 32.22 | 10% | 35.442 | LF | 24 | 11 | 850.608 | 389.862 | 1240.47
|  |  | Subtotal | [6 empty] | 8726.004 | 9619.727 | 18345.731
|  |  | TOTAL AMOUNT | [6 empty] | 90869.3894 | 85845.4428 | 176714.8323
|  |  | MOBILIZATION (10%) |  |  |  |  | 10% |  |  |  | 17671.4832
|  |  | PROFIT (10%) |  |  |  |  | 10% |  |  |  | 17671.4832
|  |  | OVERHEAD (20%) |  |  |  |  | 20% |  |  |  | 35342.9665
|  |  | INSURANCE (1%) |  |  |  |  | 1% |  |  |  | 1767.1483
|  |  | SUPERVISION (9%) |  |  |  |  | 9% |  |  |  | 15904.3349
|  |  | TOTAL BASEBID | [8 empty] | 265072.2484
NOTES:
Furnish & Installation
Non-union Wage Rates Are Used