## BASE BID
AMOUNT
|  | PROJECT: | SENORITAS SPORTS BAR LLC |  |  | Subtotal |  |  |  |  | 284973.2991
[6 empty] | Over & Profit |  |  |  |  | 79792.5237
|  | LOCATION: | 2303 HIGHWAY 36, STE#D SEALY, TX 77474
[6 empty] | Total |  |  |  |  | 364765.8228
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | TOTAL LABOR COST | TOTAL MATERIAL COST | TOTAL COST
|  | 10000 | DIVISION 01-GENERAL REQUIREMENTS
1 | See Spec. |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Project Closeouts | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Submittal and approval | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [6 empty] | 0 |  | 0
|  | 2 | DIVISION 02 — DEMOLITION
DEMOLITION
8 | A102A |  | Remove Storefront Glass & Mullion | 82.43 | 0% | 82.43 | SF | 4.5 |  | 370.935 | 0 | 370.935
9 | A102A |  | Remove 8" Thk CMU Wall | 28.9 | 0% | 28.9 | SF | 3.5 |  | 101.15 | 0 | 101.15
10 | S103 |  | Remove Metal Deck | 17.97 | 0% | 17.97 | SF | 3 |  | 53.91 | 0 | 53.91
11 | A102A |  | Saw Cut 8" Thk CMU Wall | 23.41 | 0% | 23.41 | LF | 11 |  | 257.51 | 0 | 257.51
|  |  | Subtotal | [6 empty] | 783.505 | 0 | 783.505
|  | 3 | DIVISION 03 — CONCRETE
CONCRETE SLAB
12 | S101 |  | (5" ThK) Concrete Slab Infill | 4.0315 | 10% | 4.4347 | CY | 170 | 255 | 753.8967 | 1130.8451 | 1884.7418
13 | S101 |  | 6x6-W2.9xW2.9 | 259.17 | 10% | 285.087 | SF | 0.48 | 0.72 | 136.8418 | 205.2626 | 342.1044
14 | S101 |  | 10 MIL Vapor Barrier | 259.17 | 10% | 285.087 | SF | 0.64 | 0.96 | 182.4557 | 273.6835 | 456.1392
15 | S101 |  | #4 X 24" Long Rebar Drill & Epoxy @ 24" O.C. | 82.6049 | 0% | 82.6049 | LBS | 0.6 | 0.9 | 49.5629 | 74.3444 | 123.9073
|  |  | Subtotal | [6 empty] | 1122.7571 | 1684.1357 | 2806.8928
|  | 5 | DIVISION 05 — METALS
COLUMN
16 | S101 |  | HSS5x5x1/2" Column - 10EA | 6226 | 10% | 6848.6 | LBS | 1.8 | 2.7 | 12327.48 | 18491.22 | 30818.7
17 | S101 |  | (9" X 14" X 3/4" Thk) Base Plate - BP1 | 8 | 0% | 8 | EA | 44 | 66 | 352 | 528 | 880
18 | S101 |  | (9" X 12" X 3/4" Thk) Base Plate - BP2 | 2 | 0% | 2 | EA | 44 | 66 | 88 | 132 | 220
19 | S101 |  | (5" X 5" X 1/2" Thk) Cap Plate | 10 | 0% | 10 | EA | 34 | 51 | 340 | 510 | 850
BEAM
20 | S102 |  | HSS6x5x1/2" Beam | 2241.807 | 10% | 2465.9877 | LBS | 1.8 | 2.7 | 4438.7779 | 6658.1668 | 11096.9447
21 | S102 |  | C6x8.2 Beam | 521.028 | 10% | 573.1308 | LBS | 1.8 | 2.7 | 1031.6354 | 1547.4532 | 2579.0886
JOISTS
22 | S102 |  | 600S250-54 Joists @ 12" O.C. | 1539.12 | 10% | 1693.032 | LF | 2.6 | 3.9 | 4401.8832 | 6602.8248 | 11004.708
23 | S102 |  | 600S250-54 Joists | 84.01 | 10% | 92.411 | LF | 2.48 | 3.72 | 229.1793 | 343.7689 | 572.9482
DECK
24 | S102 |  | 1-1/2" X 18GA Metal Roof Deck | 1016.03 | 10% | 1117.633 | SF | 2.3 | 3.45 | 2570.5559 | 3855.8338 | 6426.3898
MISC ITEMS
25 | S103 |  | L4x3x1/4" Angle | 29.45 | 10% | 32.395 | LF | 6.4 | 9.6 | 207.328 | 310.992 | 518.32
26 | S102, S106 |  | 1/4" Thk Bent Plate | 92 | 10% | 101.2 | LF | 1.8 | 2.7 | 182.16 | 273.24 | 455.4
27 | S102, S106 |  | 4" X 4" X 4" X 1/4" Thk Angle Plate | 10 | 0% | 10 | EA | 44 | 66 | 440 | 660 | 1100
28 | S102, S106 |  | 1/4" X 3" X 5" Side Plate | 10 | 0% | 10 | EA | 30 | 45 | 300 | 450 | 750
|  |  | Subtotal | [6 empty] | 26908.9997 | 40363.4995 | 67272.4992
|  | 6 | DIVISION 06 — WOOD, PLASTICS & COMPOSITES
SHEATHING
29 | S102 |  | (3/4" Thk) APA Rated Plywood Floor Sheathing | 523.09 | 10% | 575.399 | SF | 1.54 | 2.31 | 886.1145 | 1329.1717 | 2215.2862
|  |  | Subtotal | [6 empty] | 886.1145 | 1329.1717 | 2215.2862
|  | 7 | DIVISION 07 — THERMAL & MOISTURE PROTECTION
ROOFING
30 | A105 |  | (5" X 5") Rain Gutter | 51.18 | 10% | 56.298 | LF | 6.8 | 10.2 | 382.8264 | 574.2396 | 957.066
SEALANT
31 | A105 |  | Joint Sealant | 426 | 10% | 468.6 | LF | 0.4 | 0.6 | 187.44 | 281.16 | 468.6
|  |  | Subtotal | [6 empty] | 570.2664 | 855.3996 | 1425.666
|  | 8 | DIVISION 08 — OPENINGS
DOORS
32 | A103 |  | (2' X 6'-8") Interior Single Door - ND6 | 1 | 0% | 1 | EA | 80 | 720 | 80 | 720 | 800
33 | A103 |  | (2'-8" X 6'-8") Interior Single Door - ND7 | 1 | 0% | 1 | EA | 85 | 765 | 85 | 765 | 850
34 | A103 |  | (3' X 7') Interior Single Door - ND4 | 1 | 0% | 1 | EA | 90 | 810 | 90 | 810 | 900
35 | A103 |  | (3' X 7') Interior Single Door - ND5 | 1 | 0% | 1 | EA | 90 | 810 | 90 | 810 | 900
36 | A103 |  | (3' X 7') Interior Two Way Swing Door - ND2 | 1 | 0% | 1 | EA | 90 | 810 | 90 | 810 | 900
37 | A103 |  | (3' X 7') Interior Two Way Swing Door - ND3 | 1 | 0% | 1 | EA | 90 | 810 | 90 | 810 | 900
38 | A103 |  | (3'-6" X 6'-10") Laminated Flass Panel Door - ND1 | 1 | 0% | 1 | EA | 92.5 | 832.5 | 92.5 | 832.5 | 925
39 | A103 |  | (4'-9" X 3') Single Patio Door - ND8 | 1 | 0% | 1 | EA | 105 | 945 | 105 | 945 | 1050
DOOR HARDWARE
40 | A103 |  | Single Door Hardware | 8 | 0% | 8 | EA | 66 | 99 | 528 | 792 | 1320
WINDOW
41 | A103 |  | (8'-2" X 3'-6") Flip out Window - NW1 | 3 | 0% | 3 | EA | 128.6303 | 1157.6723 | 385.8908 | 3473.0168 | 3858.9075
|  |  | Subtotal | [6 empty] | 1636.3908 | 10767.5168 | 12403.9075
|  | 9 | DIVISION 09 — FINISHES
PARTITION WALLS
|  |  | (14'-10" H) Wall Type W3 | 30.74
42 | A103 |  | 5/8" Type X Gypsum Board On Both Sides | 911.7484 | 10% | 1002.9232 | SF | 0.72 | 1.08 | 722.1047 | 1083.1571 | 1805.2618
43 | A103 |  | 3-1/2" Sound Batt Insulation | 332.9142 | 10% | 366.2056 | SF | 1.28 | 1.92 | 468.7432 | 703.1148 | 1171.858
44 | A103 |  | 6" X 16GA Metal Studs @ 16" O.C. | 250.3114 | 10% | 275.3426 | LF | 2.6 | 3.9 | 715.8907 | 1073.836 | 1789.7267
45 | A103 |  | 6" X 16GA Top & Bottom Tracks | 61.48 | 10% | 67.628 | LF | 1.8 | 2.7 | 121.7304 | 182.5956 | 304.326
46 | A103 |  | Sealant | 122.96 | 10% | 135.256 | LF | 0.4 | 0.6 | 54.1024 | 81.1536 | 135.256
|  |  | (14'-10" H) Wall Type W3 - G.B.1 | 18.05
47 | A103 |  | 5/8" Type X Gypsum Board On One Side | 267.6815 | 10% | 294.4497 | SF | 0.72 | 1.08 | 212.0037 | 318.0056 | 530.0094
48 | A103 |  | 5/8" Moisture Resistant Gypsum Board On One Side | 267.6815 | 10% | 294.4497 | SF | 0.76 | 1.14 | 223.7817 | 335.6726 | 559.4543
49 | A103 |  | 3-1/2" Sound Batt Insulation | 267.6815 | 10% | 294.4497 | SF | 1.28 | 1.92 | 376.8956 | 565.3433 | 942.2389
50 | A103 |  | 6" X 16GA Metal Studs @ 16" O.C. | 201.2643 | 10% | 221.3907 | LF | 2.6 | 3.9 | 575.6159 | 863.4238 | 1439.0396
51 | A103 |  | 6" X 16GA Top & Bottom Tracks | 36.1 | 10% | 39.71 | LF | 1.8 | 2.7 | 71.478 | 107.217 | 178.695
52 | A103 |  | Sealant | 72.2 | 10% | 79.42 | LF | 0.4 | 0.6 | 31.768 | 47.652 | 79.42
|  |  | (13'-6" H) Wall Type W3 | 54.09
53 | A103 |  | 5/8" Type X Gypsum Board On Both Sides | 1460.43 | 10% | 1606.473 | SF | 0.72 | 1.08 | 1156.6606 | 1734.9908 | 2891.6514
54 | A103 |  | 3-1/2" Sound Batt Insulation | 730.215 | 10% | 803.2365 | SF | 1.28 | 1.92 | 1028.1427 | 1542.2141 | 2570.3568
55 | A103 |  | 6" X 18GA Metal Studs @ 16" O.C. | 549.0338 | 10% | 603.9372 | LF | 2.6 | 3.9 | 1570.2368 | 2355.3552 | 3925.5919
56 | A103 |  | 6" X 18GA Top & Bottom Tracks | 108.18 | 10% | 118.998 | LF | 1.8 | 2.7 | 214.1964 | 321.2946 | 535.491
57 | A103 |  | Sealant | 216.36 | 10% | 237.996 | LF | 0.4 | 0.6 | 95.1984 | 142.7976 | 237.996
|  |  | (42" H) Wall Type W4 | 24.15
58 | A103 |  | 1/2" Thk Plywood Sheathing On Both Sides | 169.05 | 10% | 185.955 | SF | 1.1 | 1.65 | 204.5505 | 306.8257 | 511.3762
59 | A103 |  | 3-1/2" Sound Batt Insulation | 84.525 | 10% | 92.9775 | SF | 1.28 | 1.92 | 119.0112 | 178.5168 | 297.528
60 | A103 |  | 6" X 18GA Metal Studs @ 16" O.C. | 63.5526 | 10% | 69.9079 | LF | 2.6 | 3.9 | 181.7605 | 272.6408 | 454.4013
61 | A103 |  | 6" X 18GA Top & Bottom Tracks | 48.3 | 10% | 53.13 | LF | 1.8 | 2.7 | 95.634 | 143.451 | 239.085
62 | A103 |  | Sealant | 96.6 | 10% | 106.26 | LF | 0.4 | 0.6 | 42.504 | 63.756 | 106.26
|  |  | (8' H) Wall Type W2 | 31.7
63 | A103 |  | 5/8" Type X Gypsum Board On Both Sides | 507.2 | 10% | 557.92 | SF | 0.72 | 1.08 | 401.7024 | 602.5536 | 1004.256
64 | A103 |  | 3-1/2" Sound Batt Insulation | 253.6 | 10% | 278.96 | SF | 1.28 | 1.92 | 357.0688 | 535.6032 | 892.672
65 | A103 |  | 6" X 18GA Metal Studs @ 16" O.C. | 190.6767 | 10% | 209.7444 | LF | 2.6 | 3.9 | 545.3353 | 818.003 | 1363.3383
66 | A103 |  | 6" X 18GA Top & Bottom Tracks | 63.4 | 10% | 69.74 | LF | 1.8 | 2.7 | 125.532 | 188.298 | 313.83
67 | A103 |  | Sealant | 126.8 | 10% | 139.48 | LF | 0.4 | 0.6 | 55.792 | 83.688 | 139.48
|  |  | (8' H) Wall Type W2 (G.B.1) | 32.82
68 | A103 |  | 5/8" Type X Gypsum Board On One Side | 262.56 | 10% | 288.816 | SF | 0.72 | 1.08 | 207.9475 | 311.9213 | 519.8688
69 | A103 |  | 5/8" Moisture Resistant Gypsum Board On One Side | 262.56 | 10% | 288.816 | SF | 0.76 | 1.14 | 219.5002 | 329.2502 | 548.7504
70 | A103 |  | 3-1/2" Sound Batt Insulation | 262.56 | 10% | 288.816 | SF | 1.28 | 1.92 | 369.6845 | 554.5267 | 924.2112
71 | A103 |  | 6" X 18GA Metal Studs @ 16" O.C. | 197.4135 | 10% | 217.1549 | LF | 2.6 | 3.9 | 564.6027 | 846.9041 | 1411.5068
72 | A103 |  | 6" X 18GA Top & Bottom Tracks | 65.64 | 10% | 72.204 | LF | 1.8 | 2.7 | 129.9672 | 194.9508 | 324.918
73 | A103 |  | Sealant | 131.28 | 10% | 144.408 | LF | 0.4 | 0.6 | 57.7632 | 86.6448 | 144.408
|  |  | (8' H) Wall Type W2 (G.B.2) | 17.38
74 | A103 |  | 5/8" Green Gypsum Board On Both Sides | 278.08 | 10% | 305.888 | SF | 0.72 | 1.08 | 220.2394 | 330.359 | 550.5984
75 | A103 |  | 3-1/2" Sound Batt Insulation | 139.04 | 10% | 152.944 | SF | 1.28 | 1.92 | 195.7683 | 293.6525 | 489.4208
76 | A103 |  | 6" X 18GA Metal Studs @ 16" O.C. | 104.5414 | 10% | 114.9955 | LF | 2.6 | 3.9 | 298.9883 | 448.4824 | 747.4707
77 | A103 |  | 6" X 18GA Top & Bottom Tracks | 34.76 | 10% | 38.236 | LF | 1.8 | 2.7 | 68.8248 | 103.2372 | 172.062
78 | A103 |  | Sealant | 69.52 | 10% | 76.472 | LF | 0.4 | 0.6 | 30.5888 | 45.8832 | 76.472
|  |  | (24' H) Wall Type W1 | 50.33
79 | A103 |  | 5/8" Type X Gypsum Board On One Side | 1207.92 | 10% | 1328.712 | SF | 0.72 | 1.08 | 956.6726 | 1435.009 | 2391.6816
80 | A103 |  | 3-1/2" Sound Batt Insulation | 1207.92 | 10% | 1328.712 | SF | 1.28 | 1.92 | 1700.7514 | 2551.127 | 4251.8784
81 | A103 |  | Sealant | 100.66 | 10% | 110.726 | LF | 0.4 | 0.6 | 44.2904 | 66.4356 | 110.726
|  |  | (16' H) Wall Type W1 | 95.32
82 | A103 |  | 5/8" Type X Gypsum Board On One Side | 1525.12 | 10% | 1677.632 | SF | 0.72 | 1.08 | 1207.895 | 1811.8426 | 3019.7376
83 | A103 |  | 3-1/2" Sound Batt Insulation | 1525.12 | 10% | 1677.632 | SF | 1.28 | 1.92 | 2147.369 | 3221.0534 | 5368.4224
84 | A103 |  | Sealant | 190.64 | 10% | 209.704 | LF | 0.4 | 0.6 | 83.8816 | 125.8224 | 209.704
|  |  | (8' H) Wall Type W1 | 15.55
85 | A103 |  | 5/8" Type X Gypsum Board On One Side | 124.4 | 10% | 136.84 | SF | 0.72 | 1.08 | 98.5248 | 147.7872 | 246.312
86 | A103 |  | 3-1/2" Sound Batt Insulation | 124.4 | 10% | 136.84 | SF | 1.28 | 1.92 | 175.1552 | 262.7328 | 437.888
87 | A103 |  | Sealant | 31.1 | 10% | 34.21 | LF | 0.4 | 0.6 | 13.684 | 20.526 | 34.21
88 | A103 |  | Taping | 2210 | 10% | 2431 | LF | 0.536 | 0.804 | 1303.016 | 1954.524 | 3257.54
89 | A103 |  | Mudding | 374.816 | 10% | 412.2976 | LBS | 1.96 | 2.94 | 808.1033 | 1212.1549 | 2020.2582
90 | A103 |  | Drywall Screws | 9945 | 10% | 10939.5 | EA | 0.0668 | 0.1002 | 730.7586 | 1096.1379 | 1826.8965
CEILING
91 | A103 |  | 5/8" Gypsum Board Ceiling | 74.35 | 10% | 81.785 | SF | 2.04 | 3.06 | 166.8414 | 250.2621 | 417.1035
92 | A103 |  | 5/8" Moisture Resistant Gypsum Board Ceiling | 250.3 | 10% | 275.33 | SF | 2.2 | 3.3 | 605.726 | 908.589 | 1514.315
93 | A103 |  | 3-5/8" X 20GA Metal Studs @ 16" O.C. | 244.3609 | 10% | 268.797 | LF | 1.4 | 2.1 | 376.3158 | 564.4737 | 940.7895
94 | A103 |  | Taping | 100 | 10% | 110 | LF | 0.536 | 0.804 | 58.96 | 88.44 | 147.4
95 | A103 |  | Mudding | 16.96 | 10% | 18.656 | LBS | 1.96 | 2.94 | 36.5658 | 54.8486 | 91.4144
96 | A103 |  | Drywall Screws | 450 | 10% | 495 | EA | 0.056 | 0.084 | 27.72 | 41.58 | 69.3
TRIM
97 | A103 |  | Window Trim | 140 | 10% | 154 | LF | 1.28 | 1.92 | 197.12 | 295.68 | 492.8
98 | A103 |  | Door Trim | 286 | 10% | 314.6 | LF | 1.2 | 1.8 | 377.52 | 566.28 | 943.8
BASE
99 | A103 |  | (4" H) Wood Base | 426.37 | 10% | 469.007 | LF | 1.06 | 1.59 | 497.1474 | 745.7211 | 1242.8686
TILES
100 | A103 |  | (5' H) Wall Tiles | 465.15 | 10% | 511.665 | SF | 4.8 | 7.2 | 2455.992 | 3683.988 | 6139.98
|  |  | Subtotal | [6 empty] | 26201.325 | 39301.9875 | 65503.3125
|  | 10 | DIVISION 10 — SPECIALITIES
TOILET PARTITIONS
101 | A103 |  | (6' H) Toilet Partition | 29.71 | 0% | 29.71 | LF | 3.84 | 12.16 | 114.0864 | 361.2736 | 475.36
102 | A103 |  | Urinal Partition | 2.96 | 0% | 2.96 | LF | 3.36 | 10.64 | 9.9456 | 31.4944 | 41.44
TOILET ACCESSORIES
103 | A107 |  | (48" X 24") Mirror - A | 2 | 0% | 2 | EA | 126 | 399 | 252 | 798 | 1050
104 | A107 |  | (18" Long) Grab Bar - C | 2 | 0% | 2 | EA | 32.4 | 102.6 | 64.8 | 205.2 | 270
105 | A107 |  | (42" Long) Grab Bar | 2 | 0% | 2 | EA | 39.6 | 125.4 | 79.2 | 250.8 | 330
106 | A107 |  | Tissue Dispenser | 6 | 0% | 6 | EA | 26.4 | 83.6 | 158.4 | 501.6 | 660
107 | A107 |  | (36" Long) Grab Bar | 2 | 0% | 2 | EA | 37.2 | 117.8 | 74.4 | 235.6 | 310
108 | A107 |  | ADA Compliant Infant Changing Station | 1 | 0% | 1 | EA | 60 | 190 | 60 | 190 | 250
109 | A107 |  | Soap Dispenser | 4 | 0% | 4 | EA | 26.4 | 83.6 | 105.6 | 334.4 | 440
|  |  | Subtotal | [6 empty] | 918.432 | 2908.368 | 3826.8
|  | 11 | DIVISION 11 — EQUIPMENTS - PLEASE VERIFY THE PRICES
EQUIPMENT/APPLIANCES
110 | A104, A104A |  | Advance Tabco PRSJT-12-DR Prestige Trash Receptacle Cabinet W/Door 12" Wide - 36 | 2 | 0% | 2 | EA | 126 | 399 | 252 | 798 | 1050
111 | A104, A104A |  | Kratos 24"x48" Stainless Steel Bear Box W/3" Backsplash - 35 | 1 | 0% | 1 | EA | 150 | 475 | 150 | 475 | 625
112 | A104, A104A |  | Ecolab E-UHT High Temperature Under counter Dish machine - 34 | 1 | 0% | 1 | EA | 186 | 589 | 186 | 589 | 775
113 | A104, A104A |  | Krownce KR19-1C 12" Wide Underbar hand Sink W/Faucet - 25 | 3 | 0% | 3 | EA | 204 | 646 | 612 | 1938 | 2550
114 | A104, A104A |  | Krownce KR19-36DP 36" W Insulated Bar Ice Bin 19" Deep W/15" Bin Depth - 29 | 2 | 0% | 2 | EA | 156 | 494 | 312 | 988 | 1300
115 | A104, A104A |  | Kratos 3 Bowl Underbar Compartment Sink - 38.5" X 18.75" - 33 | 1 | 0% | 1 | EA | 330 | 1045 | 330 | 1045 | 1375
116 | A104, A104A |  | Krownce Metal KR19-C24L Royal Series 19" X 24" Corner Drain board W/Left Return - 31 | 1 | 0% | 1 | EA | 102 | 323 | 102 | 323 | 425
117 | A104, A104A |  | Glastender C-DBCB-24-LD Choice Underbar Drain board, Open Front Cabinet Base, 24"W X 24" D - 32 | 2 | 0% | 2 | EA | 102 | 323 | 204 | 646 | 850
118 | A104, A104A |  | Krownce KR19-30DP 30" W Insulated Bar Ice Bin 19" Deep W/15" Bin Depth - 29A | 1 | 0% | 1 | EA | 210 | 665 | 210 | 665 | 875
119 | A104, A104A |  | Kratos 36" Five-Tiered Stainless Steel Liquor Display 23" Deep - 38 | 1 | 0% | 1 | EA | 162 | 513 | 162 | 513 | 675
120 | A104, A104A |  | Avantco UVV-72G-HC 73" Black Counter Height Narrow Glass Door Back bar Refrigerator W/LED Lighting - 37 | 2 | 0% | 2 | EA | 204 | 646 | 408 | 1292 | 1700
121 | A104, A104A |  | Beverage-Air BB72HC-1-GS-PT-B 72" Black Underbar Height Glass Door Pass Through Back bar Refrigerator - 30 | 1 | 0% | 1 | EA | 204 | 646 | 204 | 646 | 850
122 | A104, A104A |  | South bend S60DD-2GR - Economy Commercial Gas Range - 6Burners, 2Standard Ovens, 24" Griddle, Liquid Propane, Griddle Right - 01 | 1 | 0% | 1 | EA | 288 | 912 | 288 | 912 | 1200
123 | A104, A104A |  | Star 8172RCBB Ultra-Max 72" Wide Countertop Radiant Gas Char boiler - 02 | 1 | 0% | 1 | EA | 372 | 1178 | 372 | 1178 | 1550
124 | A104, A104A |  | Kratos 29Y-012-NAT Commercial Gas Floor Fryer, Five Burners, 70 to 100lb. Capacity Natural gas - 03 | 2 | 0% | 2 | EA | 396 | 1254 | 792 | 2508 | 3300
125 | A104, A104A |  | Captiveaire Exhaust Hood ND-2BD-2/SND-Self-Cleaning Hood - 27 | 1 | 0% | 1 | EA | 528 | 1672 | 528 | 1672 | 2200
126 | A104, A104A |  | MoTak MCO-1SGL Single Full Size Convertible Gas Convection Oven - 54,000 BTU - 04 | 1 | 0% | 1 | EA | 540 | 1710 | 540 | 1710 | 2250
127 | A104, A104A |  | Falcon Food Service E3C-18X18-2-18 18" X 18" (3) Compartment Stainless Steel Commercial Sink - 13 | 1 | 0% | 1 | EA | 324 | 1026 | 324 | 1026 | 1350
128 | A104, A104A |  | Regency 30" X 84" 18-Gauge 304 Stainless Steel Commercial Work Table W/Galvanized Legs & Under shelf - 12 | 1 | 0% | 1 | EA | 288 | 912 | 288 | 912 | 1200
129 | A104, A104A |  | Commercial Hand Sink - 09 | 2 | 0% | 2 | EA | 288 | 912 | 576 | 1824 | 2400
130 | A104, A104A |  | Avantco CBE-84-HC 84" 4 Drawer Refrigerated Chef Base - 11 | 1 | 0% | 1 | EA | 204 | 646 | 204 | 646 | 850
131 | A104, A104A |  | Avantco APT-84-HC 47" 2 Door Refrigerated Sandwich Prep Table - 10 | 1 | 0% | 1 | EA | 204 | 646 | 204 | 646 | 850
132 | A104, A104A |  | MOP Sink | 1 | 0% | 1 | EA | 222 | 703 | 222 | 703 | 925
133 | A104, A104A |  | Eagle Group DTC-48LR-16/3 16 Gauge Stainless Steel Left to Right Soil/Clean Dishable Package - 06 | 1 | 0% | 1 | EA | 300 | 950 | 300 | 950 | 1250
134 | A104, A104A |  | Eurodib L21EKS Lamber High Temp Door Type Dishwasher W/30 Rack/hr. Capacity, Built In Booster, 208-240v/1ph - 28 | 1 | 0% | 1 | EA | 276 | 874 | 276 | 874 | 1150
135 | A104, A104A |  | Rheem - IKONIC 199 MBH High Efficient Door Indoor Condensing Natural gas Tankless Water Heater - 26 | 1 | 0% | 1 | EA | 228 | 722 | 228 | 722 | 950
136 | A104, A104A |  | Hoshikazi KM-1301SAJ3/B-800SF 1427 lb. KM Series Crescent Cube Ice Machine W/Bin - 800lb Storage, Air Cooled, 208-230v - 08 | 1 | 0% | 1 | EA | 162 | 513 | 162 | 513 | 675
137 | A104, A104A |  | Harmony Series 48000 Grain Digital Metered Water Softener - 07 | 1 | 0% | 1 | EA | 276 | 874 | 276 | 874 | 1150
|  |  | Subtotal | [6 empty] | 8712 | 27588 | 36300
|  | 12 | DIVISION 12 — FURNISHINGS
FURNITURE
138 | A104, A104A |  | Moveable 36"x36" Dining Table W/4 Chairs - 15 | 17 | 0% | 17 | EA | 234 | 741 | 3978 | 12597 | 16575
139 | A104, A104A |  | Fixed (24" X 48") Dining Table W/2Seater 2 Restaurant Dining Sofa - 18 | 6 | 0% | 6 | EA | 300 | 950 | 1800 | 5700 | 7500
140 | A104, A104A |  | Stage Chair For Performers - 23 | 4 | 0% | 4 | EA | 276 | 874 | 1104 | 3496 | 4600
141 | A104, A104A |  | (14" Wide) Shelving Storage | 18.02 | 0% | 18.02 | EA | 38.4 | 121.6 | 691.968 | 2191.232 | 2883.2
142 | A104, A104A |  | (16" Wide) Wall Shelf | 4.99 | 0% | 4.99 | EA | 54 | 171 | 269.46 | 853.29 | 1122.75
143 | A104, A104A |  | Industrial Standard Bar Overhead Shelf (9' X 4'-5") - 24 | 1 | 0% | 1 | EA | 540 | 1710 | 540 | 1710 | 2250
144 | A104, A104A |  | (29" X 32") Bar Stool - 16 | 16 | 0% | 16 | EA | 150 | 475 | 2400 | 7600 | 10000
COUNTERTOP
145 | A103 |  | (24" Wide) Bath Countertop | 16.88 | 0% | 16.88 | EA | 30 | 95 | 506.4 | 1603.6 | 2110
146 | A103 |  | (30" Wide) 1-1/4" Thk Top-Marble/Wooden Countertop | 60.975 | 10% | 67.0725 | SF | 7.68 | 24.32 | 515.1168 | 1631.2032 | 2146.32
CABINETS
147 | A103 |  | (24" Wide) Base Cabinets | 8.44 | 20% | 10.128 | LF | 52.8 | 167.2 | 534.7584 | 1693.4016 | 2228.16
|  |  | Subtotal | [6 empty] | 12339.7032 | 39075.7268 | 51415.43
|  | 22 | DIVISION 22 — PLUMBING
PLUMBING FIXTURES
148 | A103 |  | Floor Drain | 2 | 0% | 2 | EA | 116.4 | 368.6 | 232.8 | 737.2 | 970
149 | A104, A104A |  | Silence Floor Mounted Comfort Height Commercial Elongated Top Flush Spud Flush meter Toilet Bowl Only In Glossy White - 22 | 4 | 0% | 4 | EA | 144 | 456 | 576 | 1824 | 2400
150 | A104, A104A |  | One Manual Urinal System W/0.125 GPF Flush Valve - 21 | 2 | 0% | 2 | EA | 222 | 703 | 444 | 1406 | 1850
151 | A104, A104A |  | American Stairways or FARKO Ladders - 19 | 1 | 0% | 1 | EA | 396 | 1254 | 396 | 1254 | 1650
152 | A104, A104A |  | Nameeks Elite 47-1/4" Rectangular Ceramic Wall Mount/Drop In bathroom Sink W/Overflow & Single Faucet Hole Per Basin - 20 | 4 | 0% | 4 | EA | 252 | 798 | 1008 | 3192 | 4200
ALLOWANCES
153 | A104, A104A |  | Allowance For Plumbing Water, Waste & vent Pipes | 1 | 10% | 1.1 | LS | 1080 | 3420 | 1188 | 3762 | 4950
|  |  | Subtotal | [6 empty] | 3844.8 | 12175.2 | 16020
|  | 26 | DIVISION 26 — ELECTRICAL
ALLOWANCE
154 | A103 |  | Allowance For Electrical Lighting, Power & Other Items | 1 | 0% | 1 | LS | 6000 | 19000 | 6000 | 19000 | 25000
|  |  | Subtotal | [6 empty] | 6000 | 19000 | 25000
|  |  | TOTAL AMOUNT | [8 empty] | 284973.2991
|  |  | OVERHEAD AND PROFIT (28%) |  |  |  |  | 28% |  |  |  | 79792.5237
|  |  | TOTAL BASEBID | [8 empty] | 364765.8228
NOTES:
Furnish & Installation
Non-union Wage Rates Are Used

## DEFERRED SUBMITTAL
AMOUNT
|  | PROJECT: | SENORITAS SPORTS BAR LLC |  |  | Subtotal |  |  |  |  | 43491.2743
[6 empty] | Over & Profit |  |  |  |  | 10872.8186
|  | LOCATION: | 2303 HIGHWAY 36, STE#D SEALY, TX 77474
[6 empty] | Total |  |  |  |  | 54364.0929
S# | Dwg. | CSI NO | DESCRIPTION | QTY. | Wastage | Qty w/ Waste | UNIT | UNIT LABOR COST | UNIT MATERIAL COST | TOTAL LABOR COST | TOTAL MATERIAL COST | TOTAL COST
|  | 10000 | DIVISION 01-GENERAL REQUIREMENTS
1 | See Spec. |  | Mobilization | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
2 |  |  | Supervision | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
3 |  |  | Office overheads | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
4 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
5 |  |  | Temporary facilities and controls | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
6 |  |  | Project Closeouts | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
7 |  |  | Submittal and approval | 1 | 0% | 1 | LS | 0 | 0 | 0 | 0 | 0
|  |  | Subtotal | [6 empty] | 0 |  | 0
|  | 9 | DIVISION 09 — FINISHES
FLOORING
8 | A103 |  | Hardwood Flooring | 2272.42 | 10% | 2499.662 | SF | 3.28 | 4.92 | 8198.8914 | 12298.337 | 20497.2284
9 | A103 |  | Tile Flooring | 252.08 | 10% | 277.288 | SF | 4.48 | 6.72 | 1242.2502 | 1863.3754 | 3105.6256
DOOR PAINT
10 | A103 |  | Paint On (2' X 6'-8") Interior Single Door - ND6 | 1 | 0% | 1 | EA | 34 | 51 | 34 | 51 | 85
11 | A103 |  | Paint On (2'-8" X 6'-8") Interior Single Door - ND7 | 1 | 0% | 1 | EA | 44 | 66 | 44 | 66 | 110
12 | A103 |  | Paint On (3' X 7') Interior Single Door - ND4 | 1 | 0% | 1 | EA | 44 | 66 | 44 | 66 | 110
13 | A103 |  | Paint On (3' X 7') Interior Single Door - ND5 | 1 | 0% | 1 | EA | 44 | 66 | 44 | 66 | 110
14 | A103 |  | Paint On (3' X 7') Interior Two Way Swing Door - ND2 | 1 | 0% | 1 | EA | 44 | 66 | 44 | 66 | 110
15 | A103 |  | Paint On (3' X 7') Interior Two Way Swing Door - ND3 | 1 | 0% | 1 | EA | 44 | 66 | 44 | 66 | 110
16 | A103 |  | Paint On (3'-6" X 6'-10") Laminated Flass Panel Door - ND1 | 1 | 0% | 1 | EA | 50 | 75 | 50 | 75 | 125
17 | A103 |  | Paint On (4'-9" X 3') Single Patio Door - ND8 | 1 | 0% | 1 | EA | 60 | 90 | 60 | 90 | 150
WALL PAINT
18 | A103 |  | (16' H) Wall Paint | 1507.52 | 10% | 1658.272 | SF | 0.6 | 0.9 | 994.9632 | 1492.4448 | 2487.408
19 | A103 |  | (14'-10" H) Wall Paint | 447.866 | 10% | 492.6526 | SF | 0.6 | 0.9 | 295.5916 | 443.3873 | 738.9789
20 | A103 |  | (13'-6" H) Wall Paint | 1410.075 | 10% | 1551.0825 | SF | 0.6 | 0.9 | 930.6495 | 1395.9742 | 2326.6238
21 | A103 |  | (42"' H) Wall Paint | 171.115 | 10% | 188.2265 | SF | 0.6 | 0.9 | 112.9359 | 169.4039 | 282.3398
22 | A103 |  | (24' H) Wall Paint | 1176.72 | 10% | 1294.392 | SF | 0.6 | 0.9 | 776.6352 | 1164.9528 | 1941.588
23 | A103 |  | (8' H) Wall Paint | 756.4 | 10% | 832.04 | SF | 0.6 | 0.9 | 499.224 | 748.836 | 1248.06
24 | A103 |  | (3' H) Wall Paint | 294.06 | 10% | 323.466 | SF | 0.6 | 0.9 | 194.0796 | 291.1194 | 485.199
CEILING PAINT
25 | A103 |  | Paint On Exposed Structure | 2252.84 | 10% | 2478.124 | SF | 0.72 | 1.08 | 1784.2493 | 2676.3739 | 4460.6232
26 | A103 |  | Paint On New Gypsum Board Ceiling | 324.65 | 10% | 357.115 | SF | 0.66 | 0.99 | 235.6959 | 353.5438 | 589.2397
MISC PAINT
27 | A103 |  | Paint On Window Trim | 140 | 10% | 154 | LF | 1.04 | 1.56 | 160.16 | 240.24 | 400.4
28 | A103 |  | Paint On Door Trim | 286 | 10% | 314.6 | LF | 1.04 | 1.56 | 327.184 | 490.776 | 817.96
|  |  | Subtotal | [6 empty] | 16116.5097 | 24174.7646 | 40291.2743
|  | 21 | DIVISION 21 — FIRE SPRINKLER
ALLOWANCE
29 | A103 |  | Allowance For Fire Sprinkler System | 1 | 0% | 1 | LS | 363 | 1287 | 363 | 1287 | 1650
|  |  | Subtotal | [6 empty] | 363 | 1287 | 1650
|  | 28 | DIVISION 28 — ELECTRONIC SAFETY & SECURITY
ALLOWANCE
30 | A103 |  | Allowance For Electronic Safety & Security Items. | 1 | 0% | 1 | LS | 341 | 1209 | 341 | 1209 | 1550
|  |  | Subtotal | [6 empty] | 341 | 1209 | 1550
|  |  | TOTAL AMOUNT | [8 empty] | 43491.2743
|  |  | OVERHEAD AND PROFIT (25%) |  |  |  |  | 25% |  |  |  | 10872.8186
|  |  | TOTAL BASEBID | [8 empty] | 54364.0929
NOTES:
Furnish & Installation
Non-union Wage Rates Are Used

## SUMMARY
|  | PROJECT: | SENORITAS SPORTS BAR LLC
|  | LOCATION: | 2303 HIGHWAY 36, STE#D SEALY, TX 77474
SR # | DESCRIPTION |  |  | TOTAL
1 | BASE BID |  |  | 364765.8228
2 | DEFERRED SUBMITTAL |  |  | 54364.0929
TOTAL |  |  |  | 419129.9158